File # ____________

Building Audit for Emergency Evacuation of Residents in Care Occupancies

| Ownership Information |
| --- |
| Name of Care Facility: | Address: | Owner: |
| Contact Name/Phone: | Fire Safety Plan – Yes or No Approval Date: |  |
| Building Features |
| 1 | Automatic Sprinklers (Total Building) If sprinklered, identify the water supply source: Municipal water (OFMEM-TG-01-2013 Appendix E Table A.1 assume 60 minutes) On-site water supply Duration of on-site water supply (min.) *30 minutes *10 minutes *The documentation for the duration of the on-site water supply is to be provided by the owner. If they have no documentation available a fire drill will be conducted and we will assign a duration of the most restrictive criteria- 10 minutes. | Yes No Yes Yes Yes Yes |
| 2 | Fire Alarm | Yes No |
| 3 | Heat Detector in Sleeping Room | Yes No |
| 4 | Smoke Detector in Sleeping Room | Yes No |
| 5 | Heat Detector in Corridors serving Sleeping Rooms | Yes No |
| 6 | Smoke Detector in Corridor serving Sleeping Rooms | Yes No |
| 7 | Floor Divided into Fire Zones (i.e.: Horizontal Evacuation) | Yes No |
| 8 | Fire Alarm Monitoring | Yes No |
| 9 | A/C Interconnected Smoke Alarm System (in compliance with 9.5 of the OFC) | Yes No |
| 10 | A/C Interconnected Smoke Alarm System (in compliance with 9.5 of the OFC) extended into each Sleeping Room | Yes No |
| 11 | Single Station Smoke Alarm in Sleeping Room | Yes No |
| 12 | Size of most remote sleeping room in a fire compartment: @ 12X12 ft. @ 15X20 up to 25X25 ft. |  |
| 13 | Door in Fire Separation of Patients or Residents Room Wood panel or hollow core wood door 45 mm (1 ¾ in) thick solid core door Hollow metal door 20 minute labelled door in 20minute labelled frame 45 minute labelled door in 45 minute labelled frame Self-closing devices | Yes No |
| 14 | Door(s) Opening into Exit Corridor Other Than Sleeping Rooms Wood panel or hollow core wood door 45 mm (1 ¾ in) thick solid core door Hollow metal door 20 minute labelled door in in 20minute labelled frame 45 minute labelled door in 45 minute labelled frame Self-closing devices | Yes No |
| 15 | Door in Exit Stairway Wood panel or hollow core wood door 45 mm (1 ¾ in) thick solid core door Hollow metal door 20 minute labelled door in in 20minute labelled frame 45 minute labelled door in 45 minute labelled frame Self-closing devices | Yes No |
| 16 | Other Building Features: |  |
| Staff and Resident Evaluation |
| # of Day Shift Staff: __________ # of Night Shift Staff (or shift that has the least # of staff): _______ | # of Type A Residents: ______ # of Type B Residents: ______ # of Type C Residents: ______ # of Type D Residents: ______ | Check once owner has provided a schematic/floor plan detailing the location of each resident type (see attached schematic as a sample floor plan) |