FIRE PROTECTION LOG

FOR:

BUILDING NAME

ADDRESS

START DATE

Kingston Fire & Rescue

500 O’Connor Drive

Kingston, Ontario

K7P 1N3

613-548-4001 ext. 5123

The Ontario Fire Code requires that records of all tests and corrective measures be retained for a period of two years after they are made.  Log Sheets are provided for those Procedures which must be recorded.

Fire Department Official will be requesting these records when performing building inspections to ensure that the fire code requirements are being met.

SHUTDOWN OF FIRE PROTECTION EQUIPMENT

Should any fire protection equipment be shut down for routine maintenance or as a result of equipment failure the Fire Department must be notified immediately and alternate measures taken to ensure the safety of the occupants.  The building is required to be patrolled hourly while occupied.

An attempt to minimize the impact of the malfunctioning equipment must be made (e.g. where portions of a sprinkler, fire alarm or standpipe system are placed out of service, service to remaining portions be maintained) and where necessary, the use of watchmen, bull-horns, walkie talkies, etc., should be employed to notice concerned parties of emergencies.  Assistance and direction for specific situations may be sought from the Fire Department.