INSPECTION & MAINTENANCE RECORD

STANDPIPE AND HOSE SYSTEMS

See reverse for Required Procedure

| HOSE/CABINET LOCATION | MONTHLY INSPECTION | REMARKS Repairs Performed, Equipment Replaced etc. |
| --- | --- | --- |
|  | J | F | M | A | M | J | J | A | S | O | N | D |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  | ____________________________________________ ____________________________________________ |
|  |  |  |  |  |  |  |  |  |  |  |  |  | ____________________________________________ ____________________________________________ |
|  |  |  |  |  |  |  |  |  |  |  |  |  | ____________________________________________ ____________________________________________ |
|  |  |  |  |  |  |  |  |  |  |  |  |  | ____________________________________________ ____________________________________________ |
|  |  |  |  |  |  |  |  |  |  |  |  |  | ____________________________________________ ____________________________________________ |
|  |  |  |  |  |  |  |  |  |  |  |  |  | ____________________________________________ ____________________________________________ |
|  |  |  |  |  |  |  |  |  |  |  |  |  | ____________________________________________ ____________________________________________ |
|  |  |  |  |  |  |  |  |  |  |  |  |  | ____________________________________________ ____________________________________________ |
|  |  |  |  |  |  |  |  |  |  |  |  |  | ____________________________________________ ____________________________________________ |
|  |  |  |  |  |  |  |  |  |  |  |  |  | ____________________________________________ ____________________________________________ |
|  |  |  |  |  |  |  |  |  |  |  |  |  | ____________________________________________ ____________________________________________ |
|  |  |  |  |  |  |  |  |  |  |  |  |  | ____________________________________________ ____________________________________________ |
|  |  |  |  |  |  |  |  |  |  |  |  |  | ____________________________________________ ____________________________________________ |
| ATTACH ADDITIONAL SHEETS IF FURTHER REMARKS ARE REQUIRED | DATE |  |  |  |  |  |  |  |  |  |  |  |  | ANNUAL HOSE RE-PACKING | ANNUAL CHECK OF FIRE DEPT. CONNECTIONS |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  | DATE PERFORMED | DATE CHECKED |
|  | SIGNATURE |  |  |  |  |  |  |  |  |  |  |  |  | PERFORMED BY: | CHECKED BY: |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  | (NAME) | (NAME) |

STANDPIPE AND HOSE SYSTEMS

Reference Ontario Fire Code, section 6.4

Monthly		Inspect Hose Cabinets to ensure:

a) Hose is in proper position;

b) All equipment is in place and in operable condition;

c) Cabinet is unobstructed and conspicuously identified.

Annually	Remove the plugs or caps from the outside Fire Department connections and

Inspect the threads for wear, rust or obstructions.

Re-install plugs or caps wrench tight.

Inspect the hose valves in each cabinet to ensure they are tight and that no

water is leaking into the hose.

Remove the standpipe hose, re-fold and re-pack it, ensuring folds do not

occur at the same place.  Replace any worn gaskets in the couplings.

________________________________________________________________________________________

NOTE		Standpipe systems that have been modified, extended or are being restored to

service after a period of disuse exceeding one year are to be tested in

conformance with the requirements of the Ontario Fire Code, sub-section 6.4.3.

AS REQUIRED	Standpipe hose cabinets shall be conspicuously identified and unobstructed.

Standpipe and hose equipment shall be used for fire protection only.