**FINE AMOUNTS  
Court Cost $5 Victim Fine Surcharge $195 +$35 $295 +60**

ONTARIO REGULATION 52/15  
Made: March 4 2015 Filed March 11, 2015, Published on E-Laws March 11, 2015

**SCHEDULE 17.4  
Ontario Regulation 213/07 under the Fire Protection & Prevention Act, 1997**

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| **Item** | **Offence** | | | | **Section** | **Fine** | TOTAL |
| 1. | | | Fail to prepare written record of test as required | | Sentence 1.1.2.1.(1) of Division B | | $195 | $235 |
| 2. | | | Fail to prepare written record of corrective measure as required | | Sentence 1.1.2.1.(1) of Division B | | $195 | $235 |
| 3. | | | Fail to prepare written record of operational procedure as required | | Sentence 1.1.2.1.(1) of Division B | | $195 | $235 |
| 4. | | | Fail to prepare written record of inspection of supported group living residence as required | | Sentence 1.1.2.1.(2) of Division B | | $195 | $235 |
| 5. | | | Fail to prepare written record of inspection of intensive support residence as required | | Sentence 1.1.2.1.(2) of Division B | | $195 | $235 |
| 6. | | | Fail to retain record at building as required | | Sentence 1.1.2.2.(1) of Division B | | $195 | $235 |
| 7. | | | Fail to retain initial verification report for fire protection system as required | | Sentence 1.1.2.2.(2) of Division B | | $195 | $235 |
| 8. | | | Fail to retain initial test report for fire protection system as required | | Sentence 1.1.2.2.(2) of Division B | | $195 | $235 |
| 9. | | | Fail to make record available to Chief Fire Official on request | | Article 1.1.2.3. of Division B | | $195 | $235 |
| 10. | | | Fail to repair damaged closure | | Article 2.2.3.1. of Division B | | $195 | $235 |
| 11. | | | Fail to maintain closure in fire separation as required | | Article 2.2.3.2. of Division B | | $195 | $235 |
| 12. | | | Closure in fire separation obstructed | | Article 2.2.3.3. of Division B | | $195 | $235 |
| 13. | | | Closure in fire separation blocked | | Article 2.2.3.3. of Division B | | $295 | $360 |
| 14. | | | Closure in fire separation wedged open | | Article 2.2.3.3. of Division B | | $295 | $360 |
| 15. | | | Closure in fire separation altered to prevent intended operation | | Article 2.2.3.3. of Division B | | $195 | $235 |
| 16. | | | Fail to install smoke alarm where required | | Sentence 2.13.2.1.(1) of Division B | | $295 | $360 |
| 17. | | | Smoke alarm does not comply with required standards | | Sentence 2.13.2.1.(3) of Division B | | $195 | $235 |
| 18. | | | Fail to provide extinguisher where required | | Article 6.2.4.1. of Division B | | $195 | $235 |
| 19. | | | Fail to repair defective extinguisher so it operates effectively and safely | | Article 6.2.7.3. of Division B | | $195 | $235 |
| 20. | | | Fail to recharge defective extinguisher so it operates effectively and safely | | Article 6.2.7.3. of Division B | | $195 | $235 |
| 21. | | | Fail to attach tag to extinguisher as required | | Article 6.2.7.4. of Division B | | $195 | $235 |
| 22. | | | Fail to maintain extinguisher maintenance records | | Article 6.2.7.5. of Division B | | $195 | $235 |
| 23. | | | Fail to replace extinguisher after use | | Article 6.2.7.6. of Division B | | $195 | $235 |
| 24. | | | Fail to recharge extinguisher after use | | Article 6.2.7.6. of Division B | | $195 | $235 |
| 25. | | | Fail to maintain smoke alarm in operating condition | | Sentence 6.3.3.3.(1) of Division B | | $295 | $360 |
| 26. | | | Fail to maintain smoke alarm’s power supply in operating condition | | Sentence 6.3.3.3.(2) of Division B | | $295 | $360 |
| 27. | | | Fail to maintain smoke alarm’s visual signalling component in operating condition | | Sentence 6.3.3.3.(3) of Division B | | $295 | $360 |
| 28. | | | Fail to give tenant smoke alarm maintenance instructions | | Article 6.3.3.4. of Division B | | $195 | $235 |
| 29. | | | Fail to notify landlord that smoke alarm is disconnected | | Clause 6.3.3.5.(1)(a) of Division B | | $295 | $360 |
| 30. | | | Fail to notify landlord that smoke alarm is not operating | | Clause 6.3.3.5.(1)(b) of Division B | | $295 | $360 |
| 31. | | | Fail to notify landlord that operation of smoke alarm is impaired | | Clause 6.3.3.5.(1)(c) of Division B | | $295 | $360 |
| 32. | | | Disable a smoke alarm | | Article 6.3.3.6. of Division B | | $295 | $360 |
| 33. | | | Fail to replace smoke alarm within time frame in manufacturer’s instructions | | Sentence 6.3.3.7.(1) of Division B | | $195 | $235 |
| 34. | | | Fail to maintain carbon monoxide alarm in operating condition | | Sentence 6.3.4.3.(1) of Division B | | $295 | $360 |
| 35. | | | Fail to maintain carbon monoxide alarm’s power supply in operating condition | | Sentence 6.3.4.3.(2)of Division B | | $295 | $360 |
| 36. | | | Fail to give tenant carbon monoxide alarm maintenance instructions | | Article 6.3.4.4. of Division B | | $195 | $235 |
| 37. | | | Fail to notify landlord that carbon monoxide alarm is disconnected | | Clause 6.3.4.5.(1)(a) of Division B | | $295 | $360 |
| 38. | | | Fail to notify landlord that carbon monoxide alarm is not operating | | Clause 6.3.4.5.(1)(b) of Division B | | $295 | $360 |
| 39. | | | Fail to notify landlord that operation of carbon monoxide alarm is impaired | | Clause 6.3.4.5.(1)(c) of Division B | | $295 | $360 |
| 40. | | | Disable a carbon monoxide alarm | | Article 6.3.4.6. of Division B | | $295 | $360 |
|  | | | Article 6.3.4.6. of Division B (2) Schedule 17.4 to the Regulation, as remade by subsection (1),  is amended by adding the following items: | | | | | |
| 17.1 | | | Fail to install carbon monoxide alarm where required | Sentences 2.16.2.1.(1), (2)and (3) of Division B | | | $295 | $360 |
| 17.2 | | | Carbon monoxide alarm does not comply with required standards | Sentence 2.16.2.1.(5) of Division B | | | $195 | $235 |
| 17.3 | | | Carbon monoxide alarm not installed at manufacturer's recommended height | Sentence 2.16.2.1.(6) of Division B | | | $195 | $235 |
| 17.4 | | | Carbon monoxide alarm not installed on or near ceiling | Sentence 2.16.2.1.(6) of Division B | | | $195 | $235 |
| 41. | | | Fail to replace carbon monoxide alarm within time frame in manufacturer's instructions | Sentence 6.3.4.7.(3) of Division B | | | $195 | $235 |
| 42. | | | Replacement carbon monoxide alarm does not comply with required standards | Clause 6.3.4.7.(4)(b) of Division B | | | $195 | $235 |

[https://encrypted-tbn3.gstatic.com/images?q=tbn:ANd9GcRZlUQ2Hd6JggU1eVu1qEfDp_D1apCcDfJ9YPaDMy_HpfX4DncdJjsYUA](http://www.google.ca/url?url=http://www.opconline.ca/depts/OntPoliceServices/&rct=j&frm=1&q=&esrc=s&sa=U&ei=TkMdVeipCYWsyASJ1oGgCQ&ved=0CBkQ9QEwAg&usg=AFQjCNGeIsgvH7QfQ53_LT90uSLdOvc8iw)